Medicina Paper — Crux & Comparison

A condensed, paraphrased reference for direct comparison against ThyroVision

Source: Bahmane, K.; Bhattacharya, S.; Chaouki, A.B. "Evaluation of a Hybrid CNN Model for Automatic

Detection of Malignant and Benign Lesions." Medicina 2025, 61, 2036.

All content below is paraphrased from the published paper, not quoted — for fast reference, not citation.

June 2026

What this document is for The closest published work to ThyroVision, condensed to one sitting's worth of reading, so you can compare side-by-side with the Full Technical Specification document during the proposal meeting. This is a paraphrase for quick reference, not a substitute for the original paper.

# 1. The Paper, in Brief

|  | Summary |
| --- | --- |
| Problem | Stratifying thyroid nodules by malignancy risk is central to early diagnosis. Ultrasound reading is operator-dependent, and TI-RADS-based triage still sends too many benign nodules to unnecessary biopsy. |
| Method | A hybrid CNN: an EfficientNet-B3 backbone (ImageNet-pretrained) extended with Squeeze-and-Excitation (SE) channel-attention blocks and residual refinement modules. Class imbalance addressed with a custom GAN, "G-RAN," generating synthetic benign images. |
| Dataset | TN5000 — 5,000 ultrasound images, 3,572 malignant / 1,428 benign, biopsy/FNA-confirmed labels, single institution. |
| Headline result | Accuracy 89.73%, sensitivity 90.01%, precision 88.23%, F1 88.85%, AUC > 0.90. |
| Conclusion claimed | A promising decision-support tool; future work flagged as clinical validation, deeper explainability, and hospital workflow integration. |

# 2. Architecture

Input (300×300×3, normalised) → EfficientNet-B3 backbone (ImageNet-pretrained) → SE blocks (channel attention) + Residual Refinement Modules → Global Average Pooling → Dense layer (128 units) → Dropout (0.4) → Sigmoid output (malignancy probability).

## Training recipe

| Setting | Value |
| --- | --- |
| Phase 1 — transfer learning | Backbone frozen, only the classification head trained, 20 epochs, learning rate 1×10⁻⁴ |
| Phase 2 — fine-tuning | Top backbone layers unfrozen, learning rate 1×10⁻⁵ |
| Optimizer / loss | Adam (β1=0.9, β2=0.999) / binary cross-entropy |
| Batch size | 32 |
| Early stopping | Patience = 10 epochs, monitored on validation AUC |
| Class balancing | Custom GAN ("G-RAN": U-Net generator + PatchGAN discriminator), synthetic benign images added to the training split only |
| Reproducibility | Fixed seed (42), TensorFlow/Keras 2.12.0 |
| Split (as stated in Methods) | 70% train / 20% validation / 10% test |
| Split (as stated in Results) | 70% train / 10% validation / 20% test — contradicts the Methods section figure above |

# 3. Reported Results

## 3.1 Headline metrics

| Metric | Value |
| --- | --- |
| Accuracy | 89.73% |
| Sensitivity (Recall) | 90.01% |
| Precision | 88.23% |
| F1-Score | 88.85% |
| AUC | > 0.90 |
| Reported training time | 42 minutes (Abstract, main results table) — but 12 minutes elsewhere (Table 6), for the same model |

## 3.2 Comparison against baselines (as reported)

| Model | Accuracy | Sensitivity | Precision | F1 |
| --- | --- | --- | --- | --- |
| Standard CNN | 81.5% | 79.2% | 82.0% | 80.6 |
| VGG16 | 85.3% | 86.1% | 84.5% | 85.3 |
| ResNet18 | 87.2% | 88.0% | 86.7% | 87.3 |
| Plain EfficientNet-B3 (Table 6) | 87.1% | 87.5% | 86.7% | 87.1 |
| Plain EfficientNet-B3 (backbone-selection test, §2.3.1) | 89.7% ± 0.6% | — | — | — |
| Hybrid (proposed) | 89.73% | 90.01% | 88.23% | 88.85 |

Note the two EfficientNet-B3 rows above The paper reports plain EfficientNet-B3 (no SE blocks, no residual modules) at two different accuracies in two different sections — 87.1% in one table, 89.7%±0.6% in another, the latter nearly matching the full hybrid's 89.73%. This undercuts the paper's own claim that the SE/residual additions are what drove the improvement.

## 3.3 Ablation study (their most useful table)

| Component removed | Accuracy | Drop vs. full model |
| --- | --- | --- |
| — (full model) | 89.73% | — |
| Data augmentation (incl. G-RAN) | 83.50% | −6.23 |
| SE blocks | 86.10% | −3.63 |
| Residual modules | 86.50% | −3.23 |
| Dropout | 88.00% | −1.73 |
| Batch normalisation | 87.50% | −2.23 |

## 3.4 Explainability claims

- Localization Accuracy (LA) — fraction of Grad-CAM heatmap energy overlapping expert-annotated lesion regions: LA = 0.84.

- Pilot review: two endocrinologists judged 87% of Grad-CAM maps as corresponding to clinically relevant features.

- Neither check tests whether the heatmap is causally faithful to the model's decision — both test whether it looks plausible, not whether masking the highlighted region actually changes the prediction.

## 3.5 External validation claim

A "preliminary external validation" is reported on a dataset named "THYROID-DATASET-2022," giving 89.7% accuracy and 88.5% sensitivity — used to support a generalisation claim. This dataset has no citation, reference number, or description anywhere else in the paper; every other dataset mentioned (TN5000, and others referenced in passing) is properly cited. The claim is not independently verifiable as written.

# 4. Limitations Acknowledged by the Paper Itself

- Single-institution dataset — may limit generalisability across populations, scanners, and protocols.

- Binary classification only — no TI-RADS-style risk categorisation.

- Partial interpretability — the authors themselves note Grad-CAM offers limited interpretability and call for further explainability analysis.

- Computational cost of the hybrid modules, a consideration for resource-limited clinical settings.

# 5. Side-by-Side: Medicina vs. ThyroVision

| Dimension | Medicina (closest published work) | ThyroVision (this project) |
| --- | --- | --- |
| Backbone | EfficientNet-B3 (custom hybrid) | ResNet-50 (standard, unmodified) |
| Attention | SE blocks only — never compared against alternatives | CBAM, directly compared against a plain (no-attention) baseline |
| Class imbalance handling | Custom-built GAN (G-RAN) | Standard augmentation / class weighting (no custom generative model — out of scope for this round) |
| Generalisation test | Claimed, via an uncited, unverifiable dataset | Train on TN5000, test on DDTI — both datasets named, cited, and the label-source difference stated explicitly |
| Explainability check | Grad-CAM heatmap + localisation score + clinician approval rating | Same, plus a masking faithfulness check (attended-region vs. random-region confidence drop) |
| Code / weights released | No | Will be developed and version-controlled (git) throughout |
| Internal consistency | Two contradictory figures for EfficientNet-B3 accuracy; two contradictory training-time figures; train/val/test split stated two different ways | Validation checklist enforced at every phase specifically to avoid this class of error |

The one-line comparison to lead the meeting with "Medicina built a more complex, custom architecture and reported a strong headline number, but left their attention choice untested, their generalisation claim unverifiable, and their explainability claim unchecked — and their own tables don't fully agree with each other. ThyroVision uses simpler, standard components specifically so the effort goes into closing those three gaps properly, with a documented validation process at every step."