## Paper Log
# | Paper (Title & Year) | Authors | Dataset Used | Problem | Method | Key Result | Limitation | Relevance to ThyroVision | Read in full? | Link
1 | Evaluation of a Hybrid CNN Model for Automatic Detection of Malignant and Benign Lesions (Medicina, 2025) | Bahmane, Bhattacharya & Chaouki | TN5000 (+ external THYROID-DATASET-2022) | Build a thyroid classifier with built-in attention and explainability the field's plain backbones lack. | EfficientNet-B3 + SE attention blocks + residual refinement; 2-phase transfer learning; GAN-based class balancing; patient-level split; Grad-CAM. | 89.7% accuracy, 90.0% sensitivity, AUC >0.90. SE blocks alone worth ~3-4% F1. Grad-CAM Localization Accuracy 0.84, 87% clinician-validated. | Single institution; binary-only (no TI-RADS grading); authors admit Grad-CAM gives only partial interpretability. FULL-TEXT RE-READ (this session) found 6 internal inconsistencies worth knowing before treating 89.7%/90.0%/AUC>0.90 as solid: (1) val/test % swapped between Methods Sec 2.2.3 (70/20/10) and Results Sec 3.1 (70/10/20) - TN5000's official split is 70/10/20, so 2.2.3 looks like the error; (2) plain EfficientNet-B3 reported at both 87.1% (Table 6) and 89.7+-0.6% (Sec 2.3.1) - the latter nearly equals the full hybrid's 89.73%, undercutting the SE/residual contribution claim; (3) total training time reported as both 42 min (Abstract/Table 2/Conclusion) and 12 min (Table 6) for the same model; (4) Table 3's baselines (VGG16/ResNet18) don't match the baselines named in its own surrounding text (ResNet-50/DenseNet-121); (5) TN5000 cited in-text as ref [22], which is actually an unrelated Li et al. Lancet Oncol. paper - the real TN5000 paper is ref [14]; (6) the 'THYROID-DATASET-2022' external-validation set has no citation anywhere in the paper. One thing that IS clean: the 3572/1428 class split matches the real TN5000 paper exactly (see row 5) - not a Medicina error, but still not population-representative. | BLUEPRINT - but also your closest competitor: it already ran EfficientNet-B3 + SE + residual + Grad-CAM on TN5000. Replicating it as-is = no novelty. Differentiate via: CBAM vs SE head-to-head (row 3 shows CBAM isn't an automatic win - test, don't assume), a real cross-dataset eval like row 6 (this paper's own external validation is unverifiable), or a Grad-CAM faithfulness check (mask-and-reverify, which this paper never does). | YES - start here | https://pmc.ncbi.nlm.nih.gov/articles/PMC12654495/
2 | Identification of lesion location and discrimination between benign and malignant findings in thyroid ultrasound imaging (Sci Rep, 2024) | N/A - see link | Thyroid ultrasound (YOLOv8 framework) | Compare attention mechanisms to find which best filters redundant ultrasound information. | YOLOv8 detector tested with 4 attention modules: Coordinate Attention, STN, CBAM, custom CPCA. | CPCA best (91.5% mAP@50); CBAM 90.8%; CA/STN added only 0.2-0.4% over baseline. | Result is architecture-specific - CBAM underperformed here due to uniform spatial-attention constraint. | Attention choice must be tested, not assumed | Optional | https://www.nature.com/articles/s41598-024-83888-1
3 | Deep Learning Based on ACR TI-RADS Can Improve the Differential Diagnosis of Thyroid Nodules (2021) | N/A - see link | 2,082 images / 1,396 patients (TR4 & TR5) | Test whether DL beats standard TI-RADS specifically in the ambiguous TR4/TR5 categories. | 3 DL algorithms trained on 90% of data, tested on remaining 10% plus an independent external set. | Best model AUC 0.904 (TR4), 0.845 (TR5). TI-RADS itself: pooled sensitivity 0.79 / specificity 0.71. | Not detailed in the excerpt read - fetch full text before citing as a primary comparison. | Benchmark number to beat (AUC ~0.85-0.90) | Optional | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC8111071/
4 | TN5000: An Ultrasound Image Dataset for Thyroid Nodule Detection and Classification (Sci Data, 2025) | Zhang, Liu, Han, Niu & Sun | TN5000 (the dataset itself) | Most public thyroid datasets use unconfirmed TI-RADS labels or aren't public - build one that's both. | 5,000 B-mode images, full annotation + biopsy confirmation by expert radiologists; baseline benchmarks released. | Open-access dataset with stronger ground truth than TI-RADS-only sets like DDTI. | Single dataset release - cross-dataset generalisation still needs separate testing (see row 6). VERIFIED directly from the Sci Data paper (16 Aug 2025): 3572 malignant/1428 benign is real, but that's a curated 71/29 split, not real-world prevalence (~5-15% malignant) - authors call it a 'rough balance,' which is generous. Official split is 70/10/20 at the IMAGE level (3500/500/1000), not explicitly patient-level. All images from one hospital (Cancer Hospital, Chinese Academy of Medical Sciences, Beijing) on GE Logiq E9/S7 scanners only - cross-scanner/cross-population generalisation is untested by the dataset itself. Read 'accuracy' on TN5000 as discriminative performance on an enriched cohort, not population screening performance. | Likely your primary training dataset | Skim only | https://www.nature.com/articles/s41597-025-05757-4
5 | A Machine Learning Model Based on Thyroid US Radiomics to Discriminate Between Benign and Malignant Nodules | N/A - see link | 142 patients (train/val/test) + 21 external | Classify nodules using hand-crafted radiomic features instead of deep-learning pixels. | Texture/shape/intensity radiomics feature extraction + Random Forest classifier. | Random forest caught every malignant case and most benign ones in their test set. | Very small dataset; hand-crafted-feature performance plateaus below deep learning once more data exists. | Traditional-ML baseline - your CNN should beat this | Optional | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC11592088/
6 | A Deep Learning Framework for Thyroid Nodule Segmentation and Malignancy Classification from Ultrasound Images (arXiv, Nov 2025) | N/A - see link | DDTI + TN3K (train) / TNUI (external test) | Segment the nodule first, then classify - and prove it generalises to data never seen in training. | TransUNet segmentation feeding a CNN classifier; trained on DDTI+TN3K; TNUI held out purely for external testing. | 349-image DDTI binary task (61 benign/288 malignant); DDTI+TN3K combo gave the most stable results. | Small final classification set (349 images) once filtered to valid mask+label pairs. | Copy this eval design for your cross-dataset test | Recommended for eval design | https://arxiv.org/html/2511.11937
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21

## How to Use
How to use this Paper Log
This is your running literature tracker for ThyroVision. Add a new row every time you read a paper.
The 4-line method (from Part 0.3 of your research foundation doc):
Problem - what gap or question is this paper addressing?
Method - what dataset, architecture, and approach did they use?
Key Result - what number(s) did they get? (accuracy, sensitivity, AUC, etc.)
Limitation - what did the authors themselves admit was weak or unproven?
The 3-pass reading method:
Pass 1 (5 min): title, abstract, figures, conclusion. Decide if it's relevant at all.
Pass 2 (30 min): read intro + method conceptually. This is enough to fill one row here.
Pass 3 (deep): only for papers you'll directly build on or compare against.
Column notes:
Relevance to ThyroVision - one short phrase on why this paper matters for YOUR project specifically.
Read in full? - mark YES once you've personally done Pass 2 or 3, not just read this row.
After ~15 papers you'll start seeing the same limitations repeat across different studies.
That repetition is where your research gap lives - it's exactly what Part 9 of your doc told you to look for.